## Sheet1
| Index | Time | Tamb [°C] | Tmcooling [°C] | Tm [°C] | T heatflux [°C] | Power-DC [W] | Power-AC [W] | Effective Irradiance [W/m^2] | Elec. Efficency [%] | ideal elec. energy yield [Wh] | Performance Ratio [-] | Performance Ratio STC[-] | Performance Ratio eq [-] | spez. elec. energy yield [kWh/kWp] | Autarky rate [%] | HP_COP [-] | HP_Thermal[Wh] | E_sdp_eff | P_fan | M_out | HeatFlux_[kW/m^2] | Thermal Efficency | status | Elec_demand_met | Heat_demand_met
0 | 0 | 2012-01-01 | 10.78 | 10.78 | 10.78 | 10.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
1 | 1 | 2012-01-01 01:00 | 10.73 | 10.73 | 10.73 | 10.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
2 | 2 | 2012-01-01 02:00 | 10.68 | 10.68 | 10.68 | 10.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
3 | 3 | 2012-01-01 03:00 | 10.63 | 10.63 | 10.63 | 10.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
4 | 4 | 2012-01-01 04:00 | 10.7 | 10.7 | 10.7 | 10.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
5 | 5 | 2012-01-01 05:00 | 10.76 | 10.76 | 10.76 | 10.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
6 | 6 | 2012-01-01 06:00 | 10.83 | 10.83 | 10.83 | 10.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
7 | 7 | 2012-01-01 07:00 | 11.09 | 11.09 | 11.09 | 11.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
8 | 8 | 2012-01-01 08:00 | 11.35 | 12.01 | 12.01 | 11.35 | 33.13 | 0 | 16 | 14.38 | 36.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.58 | 29.7303 | 0.3842 | 0.009 | 56.25 | System Off | 0 | 0
9 | 9 | 2012-01-01 09:00 | 11.62 | 14.17 | 14.17 | 11.62 | 140.08 | 102.35 | 67 | 14.52 | 145.84 | 0.74 | 0.7 | 0.69 | 0.05 | 76.11 | 0 | 0 | 52.54 | 29.9731 | 0.3842 | 0.031 | 46.27 | System Off | 0 | 0
10 | 10 | 2012-01-01 10:00 | 11.87 | 14.93 | 14.93 | 11.87 | 165.89 | 127.7 | 79 | 14.58 | 171.6 | 0.75 | 0.74 | 0.73 | 0.06 | 87.42 | 0 | 0 | 61.89 | 30.071 | 0.3842 | 0.036 | 45.57 | System Off | 0 | 0
11 | 11 | 2012-01-01 11:00 | 12.12 | 15.74 | 15.74 | 12.12 | 193.46 | 154.77 | 92 | 14.6 | 198.96 | 0.76 | 0.78 | 0.76 | 0.07 | 97.53 | 0 | 0 | 72.04 | 30.1728 | 0.3842 | 0.041 | 44.57 | System Off | 1 | 0
12 | 12 | 2012-01-01 12:00 | 12.38 | 16.62 | 16.62 | 12.38 | 224.02 | 184.78 | 107 | 14.54 | 229.14 | 0.84 | 0.81 | 0.79 | 0.09 | 109.99 | 0 | 0 | 83.84 | 30.2846 | 0.3842 | 0.048 | 44.86 | System Off | 1 | 0
13 | 13 | 2012-01-01 13:00 | 12.38 | 13.09 | 13.09 | 12.38 | 34.91 | 0 | 17 | 14.26 | 38.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.38 | 29.9592 | 0.3842 | 0.009 | 52.94 | System Off | 0 | 0
14 | 14 | 2012-01-01 14:00 | 12.39 | 14.07 | 14.07 | 12.39 | 85.58 | 48.8 | 42 | 14.15 | 90.95 | 0.47 | 0.54 | 0.53 | 0.02 | 36.16 | 0 | 0 | 33.1 | 30.0524 | 0.3842 | 0.02 | 47.62 | System Off | 0 | 0
15 | 15 | 2012-01-01 15:00 | 12.39 | 12.39 | 12.39 | 12.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
16 | 16 | 2012-01-01 16:00 | 12.31 | 12.31 | 12.31 | 12.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
17 | 17 | 2012-01-01 17:00 | 12.23 | 12.23 | 12.23 | 12.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
18 | 18 | 2012-01-01 18:00 | 12.15 | 12.15 | 12.15 | 12.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
19 | 19 | 2012-01-01 19:00 | 12.19 | 12.19 | 12.19 | 12.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
20 | 20 | 2012-01-01 20:00 | 12.23 | 12.23 | 12.23 | 12.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
21 | 21 | 2012-01-01 21:00 | 12.27 | 12.27 | 12.27 | 12.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
22 | 22 | 2012-01-01 22:00 | 12.18 | 12.18 | 12.18 | 12.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
23 | 23 | 2012-01-01 23:00 | 12.1 | 12.1 | 12.1 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
24 | 276 |  | 280.36 | 296.88 | 296.88 | 280.36 | 877.07 | 618.4 | 420 | 101.03 | 911.65 | 3.56 | 3.57 | 3.5 | 0.29 | 407.21 | 0 | 0 | 329.37 | 210.2435 | 2.6894 | 0.194 | 338.08
25 | 39.4286 |  | 40.0514 | 42.4114 | 42.4114 | 40.0514 | 125.2957 | 88.3429 | 60 | 14.4329 | 130.2357 | 0.50857 | 0.51 | 0.5 | 0.041429 | 58.1729 | 0 | 0 | 47.0529 | 30.0348 | 0.3842 | 0.027714 | 48.2971