## Sheet1
| Index | Time | Tamb [°C] | Tmcooling [°C] | Tm [°C] | T heatflux [°C] | Power-DC [W] | Power-AC [W] | Effective Irradiance [W/m^2] | Elec. Efficency [%] | ideal elec. energy yield [Wh] | Performance Ratio [-] | Performance Ratio STC[-] | Performance Ratio eq [-] | spez. elec. energy yield [kWh/kWp] | Autarky rate [%] | HP_COP [-] | HP_Thermal[Wh] | E_sdp_eff | P_fan | M_out | HeatFlux_[kW/m^2] | Thermal Efficency | status | Elec_demand_met | Heat_demand_met
0 | 0 | 2012-01-01 | 10.78 | 10.78 | 10.78 | 10.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.38 | 705.84 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
1 | 1 | 2012-01-01 01:00 | 10.73 | 10.73 | 10.73 | 10.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.39 | 706.52 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
2 | 2 | 2012-01-01 02:00 | 10.68 | 10.68 | 10.68 | 10.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.39 | 706.52 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
3 | 3 | 2012-01-01 03:00 | 10.63 | 10.63 | 10.63 | 10.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.4 | 707.2 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
4 | 4 | 2012-01-01 04:00 | 10.7 | 10.7 | 10.7 | 10.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.39 | 706.52 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
5 | 5 | 2012-01-01 05:00 | 10.76 | 10.76 | 10.76 | 10.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.38 | 705.84 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
6 | 6 | 2012-01-01 06:00 | 10.83 | 10.83 | 10.83 | 10.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.37 | 705.16 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
7 | 7 | 2012-01-01 07:00 | 11.09 | 11.09 | 11.09 | 11.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.34 | 703.12 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
8 | 8 | 2012-01-01 08:00 | 11.35 | 11.76 | 12.01 | 11.68 | 33.17 | 0 | 16 | 14.4 | 36.66 | 0 | 0 | 0 | 0 | 0 | 10.26 | 697.68 | 12.58 | 29.7303 | 0.3842 | 0.009 | 56.25 | System Off | 0 | 0
9 | 9 | 2012-01-01 09:00 | 11.62 | 13.18 | 14.17 | 12.76 | 140.69 | 102.35 | 67 | 14.58 | 146.37 | 0.74 | 0.7 | 0.7 | 0.05 | 76.56 | 10.12 | 688.16 | 52.54 | 29.9731 | 0.3842 | 0.031 | 46.27 | System Off | 0 | 0
10 | 10 | 2012-01-01 10:00 | 11.87 | 13.73 | 14.93 | 13.2 | 166.76 | 127.7 | 79 | 14.66 | 172.35 | 0.75 | 0.75 | 0.74 | 0.06 | 88 | 10.07 | 684.76 | 61.89 | 30.071 | 0.3842 | 0.036 | 45.57 | System Off | 0 | 0
11 | 11 | 2012-01-01 11:00 | 12.12 | 14.31 | 15.74 | 13.66 | 194.65 | 154.77 | 92 | 14.69 | 200 | 0.86 | 0.78 | 0.77 | 0.08 | 98.26 | 10.01 | 680.68 | 72.04 | 30.1728 | 0.3842 | 0.041 | 44.57 | System Off | 1 | 0
12 | 12 | 2012-01-01 12:00 | 12.38 | 14.94 | 16.62 | 14.16 | 225.63 | 184.78 | 107 | 14.64 | 230.55 | 0.84 | 0.81 | 0.8 | 0.09 | 110.93 | 9.95 | 676.6 | 83.84 | 30.2846 | 0.3842 | 0.048 | 44.86 | System Off | 1 | 0
13 | 13 | 2012-01-01 13:00 | 12.38 | 12.82 | 13.09 | 12.73 | 34.95 | 0 | 17 | 14.28 | 38.58 | 0 | 0 | 0 | 0 | 0 | 10.13 | 688.84 | 13.38 | 29.9592 | 0.3842 | 0.009 | 52.94 | System Off | 0 | 0
14 | 14 | 2012-01-01 14:00 | 12.39 | 13.42 | 14.07 | 13.14 | 85.83 | 48.8 | 42 | 14.19 | 91.16 | 0.47 | 0.54 | 0.53 | 0.02 | 36.34 | 10.08 | 685.44 | 33.1 | 30.0524 | 0.3842 | 0.02 | 47.62 | System Off | 0 | 0
15 | 15 | 2012-01-01 15:00 | 12.39 | 12.39 | 12.39 | 12.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.17 | 691.56 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
16 | 16 | 2012-01-01 16:00 | 12.31 | 12.31 | 12.31 | 12.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.18 | 692.24 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
17 | 17 | 2012-01-01 17:00 | 12.23 | 12.23 | 12.23 | 12.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.19 | 692.92 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
18 | 18 | 2012-01-01 18:00 | 12.15 | 12.15 | 12.15 | 12.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2 | 693.6 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
19 | 19 | 2012-01-01 19:00 | 12.19 | 12.19 | 12.19 | 12.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2 | 693.6 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
20 | 20 | 2012-01-01 20:00 | 12.23 | 12.23 | 12.23 | 12.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.19 | 692.92 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
21 | 21 | 2012-01-01 21:00 | 12.27 | 12.27 | 12.27 | 12.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.19 | 692.92 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
22 | 22 | 2012-01-01 22:00 | 12.18 | 12.18 | 12.18 | 12.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2 | 693.6 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
23 | 23 | 2012-01-01 23:00 | 12.1 | 12.1 | 12.1 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.21 | 694.28 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
24 | 276 |  | 280.36 | 290.41 | 296.88 | 287.58 | 881.68 | 618.4 | 420 | 101.44 | 915.67 | 3.66 | 3.58 | 3.54 | 0.3 | 410.09 | 245.39 | 16686.52 | 329.37 | 210.2435 | 2.6894 | 0.194 | 338.08
25 | 39.4286 |  | 40.0514 | 41.4871 | 42.4114 | 41.0829 | 125.9543 | 88.3429 | 60 | 14.4914 | 130.81 | 0.52286 | 0.51143 | 0.50571 | 0.042857 | 58.5843 | 35.0557 | 2383.7886 | 47.0529 | 30.0348 | 0.3842 | 0.027714 | 48.2971