## Sheet1
| Index | Time | Tavg [°C] | Power [W] | Effective Irradiance [W/m^2] | Elec. Efficency [%] | ideal elec. energy yield [Wh] | Performance Ratio STC[-] | Performance Ratio eq [-] | spez. elec. energy yield [kWh/kWp] | Autarky rate [%] | HP_COP [-] | HP_Thermal[Wh] | Tamb | E_sdp_eff | T_out | P_fan | M_out | HeatFlux_[kW/m^2] | Thermal Efficency | status | Elec_demand_met | Heat_demand_met
0 | 5548 | 2012-08-19 03:59 | 20.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.15 | 622.2 | 20.64 | 0 | 20.64 | 0 | 0 | 0 | 0 | System Off | 0 | 0
1 | 5549 | 2012-08-19 04:59 | 21.5293 | 55.48 | 28 | 13.76 | 60.47 | 0.32 | 0.32 | 0.01 | 40.26 | 9.05 | 615.4 | 21.11 | 22.19 | 21.5162 | 31.918 | 0.3842 | 0.011 | 39.29 | System Off | 0 | 0
2 | 5550 | 2012-08-19 05:59 | 22.8088 | 172.11 | 85 | 14.06 | 178.48 | 0.75 | 0.76 | 0.06 | 186.24 | 8.92 | 606.56 | 21.59 | 67.1 | 22.652 | 32.1845 | 0.3842 | 0.028 | 32.94 | System Off | 1 | 0
3 | 5551 | 2012-08-19 06:59 | 27.0295 | 395.56 | 192 | 14.31 | 397.02 | 0.89 | 0.9 | 0.17 | 321.48 | 8.44 | 573.92 | 24.48 | 151.09 | 26.7685 | 32.9012 | 0.3842 | 0.061 | 31.77 | System Off | 1 | 0
4 | 5552 | 2012-08-19 07:59 | 31.7801 | 724.72 | 352 | 14.3 | 711.89 | 0.95 | 0.96 | 0.33 | 483.7 | 7.92 | 538.56 | 27.38 | 277.03 | 31.5062 | 34.023 | 0.3842 | 0.111 | 31.53 | System Off | 1 | 0
5 | 5553 | 2012-08-19 08:59 | 36.5949 | 1073.8 | 525 | 14.2 | 1041.71 | 0.98 | 0.99 | 0.49 | 646.63 | 7.4 | 503.2 | 30.28 | 413.68 | 36.3978 | 35.2028 | 0.3842 | 0.164 | 31.24 | System Off | 1 | 0
6 | 5554 | 2012-08-19 09:59 | 39.5562 | 1377.99 | 677 | 14.13 | 1327.55 | 0.99 | 1 | 0.63 | 801.23 | 7.1 | 482.8 | 31.44 | 533.92 | 39.3084 | 35.9219 | 0.3842 | 0.211 | 31.17 | System Off | 1 | 0
7 | 5555 | 2012-08-19 10:59 | 41.7947 | 1553.47 | 768 | 14.05 | 1492.22 | 1 | 1.01 | 0.72 | 913.5 | 6.88 | 467.84 | 32.6 | 606.36 | 41.5225 | 36.47 | 0.3842 | 0.239 | 31.12 | System Off | 1 | 0
8 | 5556 | 2012-08-19 11:59 | 42.9139 | 1538.72 | 764 | 13.99 | 1478.41 | 0.99 | 1.01 | 0.71 | 901.68 | 6.77 | 460.36 | 33.76 | 603.66 | 42.6439 | 36.7416 | 0.3842 | 0.238 | 31.15 | System Off | 1 | 0
9 | 5557 | 2012-08-19 12:59 | 42.4703 | 1349.72 | 671 | 13.97 | 1301.1 | 0.99 | 1 | 0.62 | 848.71 | 6.85 | 465.8 | 33.99 | 530.3 | 41.8093 | 36.5241 | 0.3842 | 0.21 | 31.3 | System Off | 1 | 0
10 | 5558 | 2012-08-19 13:59 | 41.1631 | 1038.05 | 518 | 13.92 | 1008.41 | 0.97 | 0.99 | 0.47 | 721.66 | 7 | 476 | 34.22 | 409.65 | 40.2842 | 36.1315 | 0.3842 | 0.163 | 31.47 | System Off | 1 | 0
11 | 5559 | 2012-08-19 14:59 | 39.44 | 691.72 | 347 | 13.84 | 681.37 | 0.94 | 0.96 | 0.31 | 497.63 | 7.18 | 488.24 | 34.45 | 274.67 | 38.5476 | 35.6873 | 0.3842 | 0.11 | 31.7 | System Off | 1 | 0
12 | 5560 | 2012-08-19 15:59 | 35.7558 | 380.74 | 192 | 13.77 | 383.77 | 0.88 | 0.89 | 0.16 | 262.38 | 7.53 | 512.04 | 32.82 | 152.12 | 35.1289 | 34.8491 | 0.3842 | 0.062 | 32.29 | System Off | 1 | 0
13 | 5561 | 2012-08-19 16:59 | 32.6141 | 165.52 | 85 | 13.52 | 172.88 | 0.74 | 0.75 | 0.06 | 91.55 | 7.83 | 532.44 | 31.2 | 67.56 | 32.2738 | 34.1601 | 0.3842 | 0.029 | 34.12 | System Off | 0 | 0
14 | 5562 | 2012-08-19 17:59 | 29.9191 | 36.23 | 19 | 13.24 | 40.65 | 0.01 | 0.01 | 0 | 0.2 | 8.09 | 550.12 | 29.57 | 15.15 | 29.8779 | 33.5911 | 0.3842 | 0.008 | 42.11 | System Off | 0 | 0
15 | 5563 | 2012-08-19 18:59 | 27.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.31 | 565.08 | 27.97 | 0 | 27.97 | 0 | 0 | 0 | 0 | System Off | 0 | 0
16 | 88888 |  | 533.9799 | 10553.83 | 5223 | 195.06 | 10275.93 | 11.4 | 11.55 | 4.74 | 6716.85 | 124.42 | 8460.56 | 467.5 | 4124.48 | 528.8473 | 486.3062 | 5.3788 | 1.645 | 463.2
17 | 6349.1429 |  | 38.1414 | 753.845 | 373.0714 | 13.9329 | 733.995 | 0.81429 | 0.825 | 0.33857 | 479.775 | 8.8871 | 604.3257 | 33.3929 | 294.6057 | 37.7748 | 34.7362 | 0.3842 | 0.1175 | 33.0857