## Sheet1
| Index | Time | Tavg [°C] | Power [W] | Effective Irradiance [W/m^2] | Elec. Efficency [%] | ideal elec. energy yield [Wh] | Performance Ratio STC[-] | Performance Ratio eq [-] | spez. elec. energy yield [kWh/kWp] | Autarky rate [%] | HP_COP [-] | HP_Thermal[Wh] | Tamb | E_sdp_eff | T_out | P_fan | M_out | HeatFlux_[kW/m^2] | Thermal Efficency | status | Elec_demand_met | Heat_demand_met
0 | 5548 | 2012-08-19 03:59 | 20.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.64 | 0 | 20.64 | 0 | 0 | 0 | 0 | System Off | 0 | 0
1 | 5549 | 2012-08-19 04:59 | 21.11 | 55.42 | 28 | 13.75 | 60.42 | 0.32 | 0.32 | 0.01 | 40.13 | 0 | 0 | 21.11 | 22.19 | 21.5162 | 31.918 | 0.3842 | 0.011 | 39.29 | System Off | 0 | 0
2 | 5550 | 2012-08-19 05:59 | 21.59 | 171.58 | 85 | 14.02 | 178.02 | 0.75 | 0.76 | 0.06 | 185.51 | 0 | 0 | 21.59 | 67.1 | 22.652 | 32.1845 | 0.3842 | 0.028 | 32.94 | System Off | 1 | 0
3 | 5551 | 2012-08-19 06:59 | 24.48 | 393.18 | 192 | 14.22 | 394.89 | 0.89 | 0.9 | 0.17 | 319.35 | 0 | 0 | 24.48 | 151.09 | 26.7685 | 32.9012 | 0.3842 | 0.061 | 31.77 | System Off | 1 | 0
4 | 5552 | 2012-08-19 07:59 | 27.38 | 717.69 | 352 | 14.16 | 705.42 | 0.95 | 0.96 | 0.32 | 478.77 | 0 | 0 | 27.38 | 277.03 | 31.5062 | 34.023 | 0.3842 | 0.111 | 31.53 | System Off | 1 | 0
5 | 5553 | 2012-08-19 08:59 | 30.28 | 1059.28 | 525 | 14.01 | 1028.26 | 0.98 | 0.99 | 0.48 | 637.61 | 0 | 0 | 30.28 | 413.68 | 36.3978 | 35.2028 | 0.3842 | 0.164 | 31.24 | System Off | 1 | 0
6 | 5554 | 2012-08-19 09:59 | 31.44 | 1354.14 | 677 | 13.89 | 1305.27 | 0.99 | 1 | 0.62 | 787.04 | 0 | 0 | 31.44 | 533.92 | 39.3084 | 35.9219 | 0.3842 | 0.211 | 31.17 | System Off | 1 | 0
7 | 5555 | 2012-08-19 10:59 | 32.6 | 1522.99 | 768 | 13.77 | 1463.61 | 0.99 | 1.01 | 0.7 | 895.23 | 0 | 0 | 32.6 | 606.36 | 41.5225 | 36.47 | 0.3842 | 0.239 | 31.12 | System Off | 1 | 0
8 | 5556 | 2012-08-19 11:59 | 33.76 | 1508.51 | 764 | 13.71 | 1450.07 | 0.99 | 1.01 | 0.7 | 883.63 | 0 | 0 | 33.76 | 603.66 | 42.6439 | 36.7416 | 0.3842 | 0.238 | 31.15 | System Off | 1 | 0
9 | 5557 | 2012-08-19 12:59 | 33.99 | 1323.81 | 671 | 13.7 | 1276.95 | 0.99 | 1 | 0.61 | 832.03 | 0 | 0 | 33.99 | 530.3 | 41.8093 | 36.5241 | 0.3842 | 0.21 | 31.3 | System Off | 1 | 0
10 | 5558 | 2012-08-19 13:59 | 34.22 | 1020.84 | 518 | 13.69 | 992.48 | 0.97 | 0.98 | 0.47 | 709.3 | 0 | 0 | 34.22 | 409.65 | 40.2842 | 36.1315 | 0.3842 | 0.163 | 31.47 | System Off | 1 | 0
11 | 5559 | 2012-08-19 14:59 | 34.45 | 682.87 | 347 | 13.67 | 673.33 | 0.94 | 0.95 | 0.31 | 490.93 | 0 | 0 | 34.45 | 274.67 | 38.5476 | 35.6873 | 0.3842 | 0.11 | 31.7 | System Off | 1 | 0
12 | 5560 | 2012-08-19 15:59 | 32.82 | 377.71 | 192 | 13.66 | 381.07 | 0.88 | 0.89 | 0.16 | 260.08 | 0 | 0 | 32.82 | 152.12 | 35.1289 | 34.8491 | 0.3842 | 0.062 | 32.29 | System Off | 1 | 0
13 | 5561 | 2012-08-19 16:59 | 31.2 | 164.83 | 85 | 13.47 | 172.28 | 0.74 | 0.74 | 0.06 | 91.06 | 0 | 0 | 31.2 | 67.56 | 32.2738 | 34.1601 | 0.3842 | 0.029 | 34.12 | System Off | 0 | 0
14 | 5562 | 2012-08-19 17:59 | 29.57 | 36.19 | 19 | 13.23 | 40.62 | 0.01 | 0.01 | 0 | 0.18 | 0 | 0 | 29.57 | 15.15 | 29.8779 | 33.5911 | 0.3842 | 0.008 | 42.11 | System Off | 0 | 0
15 | 5563 | 2012-08-19 18:59 | 27.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.97 | 0 | 27.97 | 0 | 0 | 0 | 0 | System Off | 0 | 0
16 | 88888 |  | 467.5 | 10389.04 | 5223 | 192.95 | 10122.69 | 11.39 | 11.52 | 4.67 | 6610.85 | 0 | 0 | 467.5 | 4124.48 | 528.8473 | 486.3062 | 5.3788 | 1.645 | 463.2
17 | 6349.1429 |  | 33.3929 | 742.0743 | 373.0714 | 13.7821 | 723.0493 | 0.81357 | 0.82286 | 0.33357 | 472.2036 | 0 | 0 | 33.3929 | 294.6057 | 37.7748 | 34.7362 | 0.3842 | 0.1175 | 33.0857