## Sheet1
| Index | Time | Tamb [°C] | Tmcooling [°C] | Tm [°C] | T heatflux [°C] | Power [W] | Effective Irradiance [W/m^2] | Elec. Efficency [%] | ideal elec. energy yield [Wh] | Performance Ratio [-] | Performance Ratio STC[-] | Performance Ratio eq [-] | spez. elec. energy yield [kWh/kWp] | Autarky rate [%] | HP_COP [-] | HP_Thermal[Wh] | E_sdp_eff | P_fan | M_out | HeatFlux_[kW/m^2] | Thermal Efficency | status | Elec_demand_met | Heat_demand_met
0 | 8 | 2012-01-01 08:00 | 11.35 | 11.57 | 11.67 | 11.61 | 33.2 | 16 | 14.41 | 36.68 | 0 | 0 | 0 | 0 | 0 | 10.27 | 698.36 | 12.57 | 29.715 | 0.3842 | 0.007 | 43.75 | System Off | 0 | 0
1 | 9 | 2012-01-01 09:00 | 11.62 | 12.43 | 12.81 | 12.46 | 141.15 | 67 | 14.63 | 146.77 | 0.74 | 0.7 | 0.7 | 0.05 | 76.9 | 10.16 | 690.88 | 52.51 | 29.909 | 0.3842 | 0.023 | 34.33 | System Off | 0 | 0
2 | 10 | 2012-01-01 10:00 | 11.87 | 12.84 | 13.32 | 12.85 | 167.4 | 79 | 14.72 | 172.91 | 0.75 | 0.75 | 0.75 | 0.06 | 88.43 | 10.11 | 687.48 | 61.84 | 29.9954 | 0.3842 | 0.026 | 32.91 | System Off | 0 | 0
3 | 11 | 2012-01-01 11:00 | 12.12 | 13.26 | 13.84 | 13.25 | 195.52 | 92 | 14.76 | 200.76 | 0.86 | 0.78 | 0.78 | 0.08 | 98.8 | 10.06 | 684.08 | 71.98 | 30.0846 | 0.3842 | 0.03 | 32.61 | System Off | 1 | 0
4 | 12 | 2012-01-01 12:00 | 12.38 | 13.73 | 14.42 | 13.68 | 226.8 | 107 | 14.72 | 231.58 | 0.84 | 0.81 | 0.81 | 0.09 | 111.62 | 10.01 | 680.68 | 83.76 | 30.1818 | 0.3842 | 0.035 | 32.71 | System Off | 1 | 0
5 | 13 | 2012-01-01 13:00 | 12.38 | 12.62 | 12.72 | 12.65 | 34.99 | 17 | 14.29 | 38.61 | 0 | 0 | 0 | 0 | 0 | 10.14 | 689.52 | 13.38 | 29.9429 | 0.3842 | 0.007 | 41.18 | System Off | 0 | 0
6 | 14 | 2012-01-01 14:00 | 12.39 | 12.94 | 13.2 | 12.95 | 86.02 | 42 | 14.22 | 91.32 | 0.47 | 0.54 | 0.54 | 0.02 | 36.48 | 10.1 | 686.8 | 33.09 | 30.0119 | 0.3842 | 0.015 | 35.71 | System Off | 0 | 0
7 | 15 | 2012-01-01 15:00 | 12.39 | 12.39 | 12.39 | 12.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.17 | 691.56 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
8 | 16 | 2012-01-01 16:00 | 12.31 | 12.31 | 12.31 | 12.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.18 | 692.24 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
9 | 17 | 2012-01-01 17:00 | 12.23 | 12.23 | 12.23 | 12.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.19 | 692.92 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
10 | 18 | 2012-01-01 18:00 | 12.15 | 12.15 | 12.15 | 12.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2 | 693.6 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
11 | 19 | 2012-01-01 19:00 | 12.19 | 12.19 | 12.19 | 12.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2 | 693.6 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
12 | 20 | 2012-01-01 20:00 | 12.23 | 12.23 | 12.23 | 12.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.19 | 692.92 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
13 | 21 | 2012-01-01 21:00 | 12.27 | 12.27 | 12.27 | 12.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.19 | 692.92 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
14 | 22 | 2012-01-01 22:00 | 12.18 | 12.18 | 12.18 | 12.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2 | 693.6 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
15 | 23 | 2012-01-01 23:00 | 12.1 | 12.1 | 12.1 | 12.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.21 | 694.28 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
16 | 24 | 2012-01-02 | 12.02 | 12.02 | 12.02 | 12.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.22 | 694.96 | 0 | 0 | 0 | 0 | 0 | System Off | 0 | 0
17 | 272 |  | 206.18 | 211.46 | 214.05 | 211.52 | 885.08 | 420 | 101.75 | 918.63 | 3.66 | 3.58 | 3.58 | 0.3 | 412.23 | 172.8 | 11750.4 | 329.13 | 209.8408 | 2.6894 | 0.143 | 253.2
18 | 38.8571 |  | 29.4543 | 30.2086 | 30.5786 | 30.2171 | 126.44 | 60 | 14.5357 | 131.2329 | 0.52286 | 0.51143 | 0.51143 | 0.042857 | 58.89 | 24.6857 | 1678.6286 | 47.0186 | 29.9773 | 0.3842 | 0.020429 | 36.1714